Digital Watchdog® is a leading manufacturer of security and surveillance solutions, offering stunning image quality, advanced hardware capabilities, reliable customer support and the lowest total cost of deployment to the analog & IP megapixel surveillance markets. Located in Cerritos, CA, with manufacturing facilities in Seoul, Korea, Digital Watchdog® is committed to delivering powerful security solutions to its customers worldwide.

For additional information, contact:

Digital Watchdog®
16220 Bloomfield Avenue,

Cerritos, California 90703 USA

Phone: +1 866 446-3593

Web: www.digital-watchdog.com

E-mail: dw-tech@digital-watchdog.com

MEGApix Ai® 5MP BULLET THERMAL BISPECTRAL AI IP CAMERA

DIVISION 28 – ELECTRONIC SAFETY AND SECURITY

28 20 00 	Video Surveillance

28 21 00 	Surveillance Cameras

28 21 13	IP Cameras

Notes to Specifier:

1. Where several alternative parameters or specifications exist or where the specifier has the option of inserting text, such choices are presented in <bold text>.

2. Explanatory notes and comments are presented in colored text.

3. CSI MasterFormat 2016 incorporates numerous significant changes affecting electronic safety and security. This document is written to provide flexibility in using either format, although the adoption of MasterFormat 2016 is encouraged. The following is a guide to the MasterFormat numbers relevant to the product referenced in this specification.

4. MasterFormat 2014 Specification Category:

28 23 29 - Video Surveillance Remote Devices and Sensors

5. This section has been completed for the Digital Watchdog DWC-XTBG05DiT, a bi-spectral (thermal + visible) bullet camera. Values shown in <bold, bracketed text> denote information not published in the manufacturer’s datasheet and shall be confirmed with the Manufacturer prior to use.

MEGApix Ai® 5MP BULLET THERMAL BISPECTRAL AI IP CAMERA

- GENERAL

  - SUMMARY

    - The section includes a thermal imaging IP video camera with a heat detection sensor, combined with a 5MP visible-light imaging channel (bi-spectrum configuration), contained within a weather-resistant, IP66-rated, IK09-rated bullet housing.

    - Product - A thermal imaging IP camera capable of producing thermographic video for detecting the heat signature of persons, vehicles, and objects in complete darkness, smoke, and light obscurants. The camera shall simultaneously provide a 5MP visible-light video channel, based on H.265, H.264 and MJPEG compression, independently encoded and streamed per channel. The camera shall be contained within a weather-resistant, IP66- and IK09-rated bullet housing.

    - Related Requirements

      - 27 15 01.13 – Video Surveillance Communications Conductors and Cables

      - 28 05 03 – Safety and Security Network Communications Equipment

      - 28 05 19 – Storage Appliances for Electronic Safety and Security

      - 28 06 20 – Schedules for Video Surveillance

      - 28 23 00 – Video Management System

  - REFERENCES

    - Abbreviations

      - AGC - Automatic Gain Control

      - ARP – Address Resolution Protocol

      - AWB  - Automatic White Balance

      - BLC – Backlight compression

      - DHCP - Dynamic Host Configuration Protocol

      - DNR – Digital Noise Reduction

      - DNS - Domain Name Server

      - DDNS – Dynamic Domain Name Server

      - fps - Frames Per Second

      - FTP - File Transfer Protocol

      - GUI – Graphical User Interface

      - HTTP - Hypertext Transfer Protocol

      - ICMP – Internet Control Message Protocol

      - IGMP - Internet Group Management Protocol

      - IP - Internet Protocol

      - JPEG - Joint Photographic Experts Group

      - MJPEG - Motion JPEG

      - NTP - Network Time Protocol

      - PoE - Power over Ethernet

      - QoS – Quality of Service

      - RARP – Reverse Address Resolution Protocol

      - RTP - Real-Time Transport Protocol

      - RTSP - Real-Time Streaming Protocol

      - SMTP - Simple Mail Transfer Protocol

      - TCP - Transmission Control Protocol

      - UDP - User Datagram Protocol

      - VMS - Video Management System

      - WDR – Wide Dynamic Range

      - DRI – Detection, Recognition, Identification

      - NETD – Noise Equivalent Temperature Difference

      - iFOV – Instantaneous Field of View

      - PPM – Pixels Per Meter

    - Reference Standards

      - Network

        - IEEE - 802.3 Ethernet Standards

      - Video

        - ISO / IEC 14496 – MPEG-4

          - ISO / IEC 14496–10, MPEG-4 Part 10 (ITU H.264)

        - ISO / IEC 10918 – JPEG

        - ONVIF – Profile S

      - Emissions

        - FCC-47 CFR Part 15 Class B

        - Underwriters Laboratories (UL) listed

      - Environmental

        - ANSI / IEC60529 – Degrees of Protection Provided by Enclosures

        - International Electrotechnical Commission (IEC) – Ingress Protection Rating IP66

        - European standard EN 62262 — equivalent to International Electrotechnical Commission (IEC) – Impact Protection Rating IK09

  - SUBMITTALS

    - Product Data

      - Manufacturer’s printed or electronic datasheets.

      - Manufacturer’s installation and operation manuals.

      - Warranty documentation.

  - QUALIFICATIONS

    - The Manufacturer shall have at least five years of experience producing IP video equipment.

    - Installers shall be trained and authorized by the Manufacturer to install, integrate, test, and commission the system.

  - DELIVERY, STORAGE, AND HANDLING

    - Deliver the camera in the Manufacturer’s original, unopened, and undamaged container with identification labels intact.

    - Store the camera in a temperature environment consistent with the operating and startup temperature ranges specified in Part 2, protected from mechanical and environmental conditions as designated by the Manufacturer.

  - WARRANTY AND SUPPORT

    - The Manufacturer shall provide a 5-year warranty for the product to be free of defects in material and workmanship.

END OF SECTION

- PRODUCTS

  - EQUIPMENT

    - Manufacturer: 	Digital Watchdog, Inc.

16220 Bloomfield Avenue, Cerritos,

California USA 90703 USA

Phone: (866) 446-3595

Web: www.digital-watchdog.com

E-mail:  dw-tech@digital-watchdog.com

    - Models: DWC-XTBG05DiT

    - Alternates: None

  - GENERAL DESCRIPTION

    - The Thermal Bi-Spectrum IP Camera (“IP camera”) shall incorporate a thermal imaging sensor capable of producing thermographic video for detecting the heat signature of persons, vehicles, and objects in complete darkness, harsh weather, fog, or smoke. The camera shall simultaneously provide a 5MP visible-light video channel for full-color scene verification, day or night. The camera shall be contained within a weather-resistant, IP66- and IK09-rated bullet housing.

    - The IP camera shall possess the following characteristics:

      - H.265, H.264 and MJPEG compression, each derived from a dedicated encoder per video channel and capable of being streamed independently and simultaneously.

      - Thermal resolution up to 640x480 and visible resolution up to 2592x1944 (5MP)

      - Independent, simultaneous thermal and visible video streams, with triple streaming (third stream MJPEG only) on the visible channel.

      - Thermal imaging with inherent 24-hour, all-light-condition detection capability; visible channel true day/night operation with 80-foot Smart IR illumination.

      - Visible channel True Wide Dynamic Range (WDR), 120dB.

      - 16 programmable privacy masking zones on the visible channel.

      - 3D digital noise reduction

      - Audio input and output for two-way communication

      - Micro SD/SDHC/SDXC Class 10 memory card slot (not included)

      - PoE capable

      - Multicast or unicast capable

      - Built-in web server

      - Dynamic DNS (DDNS) support

      - IP66-rated

      - IK09 impact-resistant rated

      - Selectable color palettes on the thermal channel (White, Black, Iron, Cool, Amber, Indigo, Tyrian, Glory, and Envy).

      - AI-based object tracking on the visible channel with configurable zones and lines, tamper detection, metadata, intrusion, line crossing, counting, appear/disappear, stopped-object, enter/exit, direction, tailgating, dwell, and logical-rule analytics, across up to 40 separate detection zones.

      - One alarm input and one relay output for interfacing with external alarm and access control devices.

      - NDAA and TAA compliant for federal and government projects

      - Cold-start capable to -40°F (-40°C) on DC power

      - Star-Light Plus low-light color imaging technology on the visible channel

  - VIDEO

    - Video (Thermal)

      - Imaging Device: 		76.8K CMOS sensor

      - NETD (Noise Equivalent Temperature Difference): 65mK (typical), <100mK (max) @25°C

      - Pixel Pitch: 			12µm, 4:3 aspect ratio

      - Spectral Range: 		7.8 ~ 14µm

      - Thermal Resolution:		640x480, 320x240

      - Thermal Lens

        - Focal length: 	4.0mm fixed focal

        - Max. Aperture Ratio: F1.0

        - Field of View: 	Horizontal 56°

Vertical: 42°

      - Color Palettes:

        - White

        - Black

        - Iron

        - Cool

        - Amber

        - Indigo

        - Tyrian

        - Glory

        - Envy

      - Thermal Video Streaming

        - Max. frame rate: Up to 9fps (H.265, H.264, and MJPEG)

        - Compression: H.265, H.264, MJPEG

        - Resolution:

          - 640x480

          - 320x240

    - Video (Visible)

      - Sensor:				5.69M (5MP) CMOS sensor

      - Minimum illumination

        - Color mode: 			0.16 lux

        - Black and white mode: 		0 lux

        - Signal-to-noise (S/N) ratio: 	50dB

        - IR Illumination Distance: 	80 feet, with intelligent camera sync for clear black-and-white imaging in complete darkness

      - Image Control Settings shall be available for:

        - Automatic white balance (AWB)

          - Selectable for Auto or Manual

            - Manual mode provides the ability to configure red offset, blue offset and warmth or coolness of light.

        - Exposure modes: 		automatic or manual

          - In manual exposure mode, configurable settings for:

            - Brightness

            - Shutter mode: 	automatic, anti-flickering, or manual

            - Shutter speed: 1/15 sec to 1/32,000 sec

            - Slow shutter: 1/2, 1/3, 1/5, 1/6, 1/7.5, 1/10 sec

            - Automatic Gain Control (AGC)

            - Backlight compensation (BLC)

            - True Wide Dynamic Range (WDR) level

        - Day and night settings: Auto / Day (Color) / Night (Black-and-White)

        - Frequency

        - Image sharpness

        - IR illuminator control, synchronized with day/night switching

        - Chroma

        - Image mirror or flip

        - Digital noise reduction

        - Privacy zone definition, up to 16 zones

      - Lens

        - Lens type: 4.0mm, F2.0 Fixed Lens

        - Field of view (FOV): H 82.3° / V 58.8°

    - Video Streams (Visible Channel)

      - The visible channel shall support triple streaming (third stream MJPEG only), each stream independently configurable with the following properties:

        - Compression Type:

          - H.265

          - H.264

          - MJPEG

        - Resolution:

          - 2592x1944 (5MP), 2560x1440, 1920x1080, 1280x720, 800x600, 704x576, 704x480, 640x480, 640x360, 352x288, 352x240 (H.265/H.264)

          - 1920x1080, 1280x720, 800x600, 768x432, 704x576, 704x480, 640x480, 640x360, 352x288, 352x240 (MJPEG)

        - Video bitrate:	100 Kbps ~ 25 Mbps, multi-rate for preview and recording

        - Bitrate control:	Multi-streaming CBR/VBR at H.264, H.265 (controllable frame rate and bandwidth)

    - Storage and Recording

      - The IP camera shall have onboard SD card storage.

        - Card Type:	Micro SD/SDHC/SDXC, Class 10 (not included)

      - Local recording on the SD card shall commence upon loss of network connectivity, based on a pre-programmed schedule.

      - The local SD storage shall be able to be backed up to alternate media without removing the SD card from the camera.

    - ONVIF – The IP camera shall conform to the ONVIF standard for interoperability with third-party VMS platforms.

    - Other

      - Single Images - The IP camera shall support the .JPG image screenshot and export.

      - Discovery - The Manufacturer shall offer a discovery program to identify all devices of his manufacture on the network.

      - Emergency alarm – The IP camera shall allow the sending of a video clip of configurable duration.

  - AUDIO

    - Audio In – 1 line input, 1.0Vrms nominal level, 3K Ohm input impedance.

    - Audio Out – 1 line output.

    - Audio Compression: G.711 u-law.

  - ALARM I/O

    - The IP camera shall provide 1 alarm input and 1 alarm output for interfacing with external alarm and access control devices.

    - Alarm trigger sources shall include: motion alarm, network loss, temperature anomaly, illegal login, schedule, sensor detection, and tamper detection.

    - Upon alarm trigger, the camera shall be able to perform the following notification actions:

      - File upload (image) via e-mail or FTP

      - E-mail notification

      - Recording to SD/SDHC/SDXC card

      - Alarm relay output

  - NETWORK

    - Connectivity: 1000Base-T (1Gbps) Ethernet with RJ-45 connector

    - Protocols supported

      - Transmission Control Protocol (TCP), Internet Protocol (IP) v4, User Datagram Protocol (UDP)

      - Configuration: Dynamic Host Configuration Protocol (DHCP)

      - Web services: Hypertext Transfer Protocol (HTTP)

      - Network services: Domain Name System (DNS), Network Time Protocol (NTP), Internet Control Message Protocol (ICMP), Simple Network Management Protocol (SNMP)

      - Media: Real-Time Transport Protocol (RTP), Real-Time Streaming Protocol (RTSP)

    - DDNS – The IP camera shall support DDNS services offered by the Manufacturer and other publicly available service offerings.

    - Security

      - The IP camera shall support IP address filtering, allowing users to enter a list of allowed or blocked IP addresses for viewing video and configuring camera settings.

      - The IP camera shall provide digest authentication, as well as ID and password protection.

      - The IP camera shall provide three user access levels with password protection.

  - EMBEDDED ANALYTICS

    - Intelligent Video Analytics (AI-Based) – The IP camera shall provide the following configurable AI-based video analytics on the visible imaging channel:

      - AI-based object tracking with person and vehicle classification.

      - Virtual line crossing, counting lines, and virtual zones (enter/exit/appear/disappear/stopped).

      - Direction detection, tailgating detection, intrusion detection, and dwell (loitering) analytics.

      - Tamper detection, object metadata generation, and configurable logical rules.

      - Configurable for up to 40 separate detection zones and lines.

  - ADDITIONAL FEATURES

    - System Information

      - The system settings of the IP camera shall be exportable as a separate file.

      - The IP camera shall maintain an access log of the system and motion-triggered events.

        - The log shall be exportable to an Excel spreadsheet file.

      - The Manufacturer shall provide a reporting tool capable of generating a report including thumbnail view, MAC address, IP address, serial number, and other camera settings for multiple cameras.

  - CAMERA SOFTWARE

    - The IP camera shall have a built-in web server that supports browser-based configuration using Microsoft Edge, Google Chrome, Mozilla Firefox, and Apple Safari, compatible with Windows, Mac OS, and Linux operating systems.

    - The software GUI shall allow access to camera information and all primary software functions, including:

      - Camera network address

      - Configuration

      - Stream Control

      - Screen snapshot, print and export

      - Start and stop recording

    - The Manufacturer shall offer a video viewer and configuration to implement the following actions:

      - Camera discovery

      - Configuration

        - video parameters

        - events and notifications

          - motion-related

          - emergency

        - camera network parameters

        - PTZ control (pan, tilt, zoom, presets, patterns, swings, and auto tracking)

        - image capture, export, and print

      - Viewer - view video streams through the web browser

      - Image print and export

      - Instant recording and playback

      - Alerts

        - e-mail setup

        - Define web addresses for notifications

      - System

        - firmware upgrade

        - Reset to factory default

        - Set date, time, and NTP server synchronization

        - User access control

        - View and export camera settings

        - View system logs

  - ELECTRICAL

    - Power

      - Sources

        - DC 12V

        - PoE

        - Adapter not included

        - Power Consumption: 	12V DC: 23.3W, 1.94A

PoE: 11.6W, 241mA

    - Connectors

      - Ethernet: 			RJ-45 connector

      - External power (DC 12V): 	Power adapter cable

  - MECHANICAL AND ENVIRONMENTAL

    - Housing Material: 		Aluminum die-casting bullet housing, bispectral thermal and visible

    - Environmental Rating: 	IP66

    - IK rating: 			IK09

    - Dimensions: 		9.53" x 3.8" (242.3 x 96.7mm)

    - Weight:			2.16 lbs (0.98 kg)

    - Temperature:

      - Operating: 		-40°F to +122°F (-40°C to +50°C)

      - Startup: 		-4°F to +122°F (-20°C to +50°C).

Cold Start supported down to -40°F (-40°C) on DC power only.

    - Humidity:			10–90% RH (non-condensing)

END OF SECTION

- EXECUTION

  - INSTALLERS

    - Contractor personnel shall comply with all applicable state and local licensing requirements.

  - PREPARATION

    - The network design and configuration shall be verified for compatibility and performance with the camera(s).

    - Network configuration shall be tested and qualified by the Contractor before camera installation.

  - INSTALLATION

    - The Contractor shall follow all Manufacturer-published installation procedures and guidelines.

    - Before permanent installation of the system, the system shall be factory tested in conditions simulating the final installed environment.

      - A report indicating successful test results shall be produced.

  - STORAGE

    - The IP camera hardware shall be stored in an environment where temperature and humidity are in the range specified by the Manufacturer.

END OF SECTION